## Master S of Q & P
[7 empty] | SCHEDULE OF QUANTITIES AND PRICES | [6 empty] | SCHEDULE OF QUANTITIES AND PRICES
[7 empty] | 2024-03-25 | [6 empty] | 2024-03-25
River of Golden Dreams Weir and Fishway
0029.364 | [7 empty] | Storm |  | Water |  | Roads |  | Total $
Division | Section | Item No. |  | Unit | Est. Qty. | Unit Price $ | Total $ | Est. Qty. | Total $ | Est. Qty. | Total $ | Est. Qty. | Total $
01 | GENERAL REQUIREMENTS
| 01 33 01 | 1.01 | Project Record Documents | Incidental | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 01 42 00 | 1 | Reference Specifications | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 01 51 01 | 1.02 | Temporary Utilities and Lighting | Incidental | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 01 52 01 | 1 | Temporary Structures | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 01 53 01 | 1 | Temporary Facilities | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 01 55 00 | 1.03 | Traffic Control, Vehicle Access and Parking | Incidental | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 01 57 01 | 1 | Environmental Protection | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 01 58 01 | 1 | Project Identification | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal Division 01 - General Requirements |  | 0 |  | 0 |  | 0 |  | 0 | 0
03 | CONCRETE
| 03 20 01 | 1 | Concrete Reinforcement | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 03 30 20 |  | Concrete Walks, Curbs and Gutters
|  | 1, 2 | Sidewalks and Ramps | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Infill Strips | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Curb and Gutter | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 4 | Residential Driveway Crossovers (in addition to Sidewalk) | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 4 | Commercial Driveway Crossovers, 150mm Thick with Reinforcement (in addition to sidewalk) | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 5 | Limestone Infill | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 6 | Adjust Existing Catchbasins, Manhole and utility Covers | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 03 30 53 |  | Cast-In-Place Concrete
|  | 1, 2 | Type | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Type | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 03 40 01 |  | Precast Concrete
|  | 2.01 | Install Pre-cast Concrete Fishway including sealing and fastening of Fishway #1, #2, #3, and #4 structures together | Lump Sum | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 2.02 | Install Pre-cast Concrete Weirs including sealing and fastening of Weir #1 and #2 structures together | Lump Sum | 1
|  | 2.03 | Install Concrete Block Wall | Lump Sum | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal Division 03 - Concrete |  | 0 |  | 0 |  | 0 |  | 0 | 0
26 | ELECTRICAL
| 26 42 13 |  | Cathodic Protection
|  | 1, 2 | Type | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Type | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 26 56 01 |  | Roadway Lighting
|  | 1, 2 | Type 'A' Pole, Luminaire and Base Complete | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Type 'B' (Cobra Head Pole), Luminaire, and Base Complete | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Trenching, Conduit & Conductor | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Junction Boxes | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal Division 26 - Electrical |  | 0 |  | 0 |  | 0 |  | 0 | 0
31 | EARTHWORKS
| 31 05 17 | 1 | Aggregates and Granular Materials | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 11 01 | 3.01 | Clearing and Grubbing | Lump Sum | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 11 41 | 3.02 | Shrub and Tree Preservation | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 15 60 | 1 | Dust Control | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 22 01 |  | Site Grading (Landscaping Only)
|  | 1, 2, 5, 6 | Strip Topsoil (To Stockpile) | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3, 5, 6 | Re-Spread Topsoil (From Stockpile) | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 4, 5, 6 | Rough Site Grading | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 22 16 | 1, 2, 3 | Reshape Granular Roadbed | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 22 16.1 | 1, 2, 3, 4 | Reshape Existing Subgrade | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 23 01 | 1 | Excavation, Trenching and Backfilling (underground utility and related infrastructure only) | Incidental |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 23 17 |  | Rock removal
|  | 1, 2 | Type | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Type | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 23 23 | 1 | Controlled Density Fill | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 24 13 |  | Excavation, Embankment and Compaction
|  | 3.03 | Common Excavation | cu m | 148 |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 3.04 | Embankment Fill - Supply and install Engineered Fill | cu m | 71 |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 4 | Replace Unsuitable Subgrade | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 5 | Double Haul | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 6 | Peat Excavation | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 3.05 | Subgrade Preparation - Compaction of Engineered Fill | sq m | 65 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 32 19 | 3.06 | Supply and install Non-Woven Geotextile on landside face of concrete block wall | sq m | 25 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 36 13 | 1, 2 | Gabions | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 31 37 10 |  | Riprap
|  | 3.07 | Supply and install 10 kg Angular Riprap for bank protection | sq m | 68 |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 3.08 | Supply and install 10 kg Rounded Riprap for channel bed protection | sq m | 37 |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal Division 31 - Earthworks |  | 0 |  | 0 |  | 0 |  | 0 | 0
32 | ROADS AND SITE IMPROVEMENTS
| 32 01 11 | 1, 2 | Pavement Surface Cleaning and Removal of Pavement Markings | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 01 16.7 | 1, 2 | Cold Milling | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 01 16.8 | 1, 2 | Full Depth Reclamation | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 01 17.6 | 1, 2 | Sealing Pavement Cracks for Maintenance Purposes | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 01 17.7 | 1, 2 | Pavement Crack Cleaning and Filling Prior to Overlay | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 11 16.1 |  | Granular Sub-Base
|  | 1 to 3 | 400 mm Thick - Road Structure | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 3 | 200 mm Thick - Sidewalks & Driveways | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 11 23 |  | Granular Base - 100 mm Thick for Roads, Sidewalks and Roadside Barriers
|  | 1 to 3 | 100 mm Thick for Road Structure & Sidewalks | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 3 | 100 mm Thick for Driveways & Bike Paths | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 12 13.1 | 1, 2 | Asphalt Tack Coat | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 12 13.2 | 1, 2 | Asphalt Prime | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 12 16 |  | Hot Mix Asphalt Concrete Paving
|  | 1, 2, 4, 5, 6 | ## mm Thick Lower Course # 2 | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2, 4, 5, 6 | ## mm Thick Upper Course # 2 | sq m
|  | 1, 3, 4, 5, 6 | Extruded Curb | lin m
|  | 1, 2, 4, 5, 6 | Sidewalks | sq m
|  | 1, 2, 4, 5, 6 | Driveways | sq m
|  | 1, 2, 4, 5, 6 | Infill Strips | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2, 4, 5, 6 | Permanent Pavement Patching | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 12 17 |  | Superpave Hot Mix Asphalt Concrete Paving
|  | 1 to 8 | ## mm Thick Lower Course | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 8 | ## mm Thick Upper Course | sq m
|  | 1 to 8 | Extruded Curb | lin m
|  | 1 to 8 | Sidewalks | sq m
|  | 1 to 8 | Driveways | sq m
|  | 1 to 8 | Infill Strips | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 8 | Permanent Pavement Patching | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 12 33 | 1, 2 | Surface Treatments | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 13 13 | 1, 3, 3 | Portland Cement Concrete Pavement | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 13 16.1 | 1, 2 | Roller Compacted Concrete Paving | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 14 01 | 1, 2 | Unit Paving | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 17 23 | 1 | Painted Pavement Markings | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 31 13 | 1, 2, 3, 4 | Chain Link Fences and Gates | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 91 21 |  | Topsoil and Finish Grading
|  | 1, 2, 3, 4 | Growing Medium | sq m
|  | 1, 2, 3, 4 | Import Topsoil | cu m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 92 19 | 1, 2, 3, 4 | Hydraulic Seeding | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 92 20 | 1, 2 | Seeding | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 92 23 | 1, 2, 3 | Sodding | sq m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 32 93 01 |  | Planting of Trees, Shrubs and Ground Cover
|  | 1, 2, 3 | Trees | each
|  | 1, 2, 3 | Tree Grates | each
|  | 1, 2, 3 | Ground Cover | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal Division 32 - Roads and Site Improvements |  | 0 |  | 0 |  | 0 |  | 0 | 0
33 | UTILITIES
| 33 01 30.1 | 1, 2 | CCTV Inspection of Pipelines | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 33 01 30.2 |  | Cleaning of Sewers
|  | 1 | Cleaning | lin m
|  | 1 | Root Cutting | hours
| 33 05 23 |  | Trenchless Sewer Pipe Bursting
|  | 1 to 8 | By-Pass Pumping | lump sum
|  | 1 to 8 | Pipe Bursting | lin m
|  | 1 to 8 | Service Reconnection | each
|  | 1 to 8 | Connect HDPE to Manhole | each
| 33 05 24 |  | Cured-In-Place Pipe Liners
|  | 1 to 12 | By-Pass Pumping | lump sum
|  | 1 to 12 | Mob and Demob for Temp Flow Management Systems Only | lump sum
|  | 1 to 12 | Removal of Intruding Connections (Excludes Cast Iron) | each
|  | 1 to 12 | Sewer Lining | lin m
|  | 1 to 12 | Service Connection Re-Instatement | each
|  | 1 to 12 | Service Connection Interface Sealing | each
| 33 11 01 |  | Waterworks
|  | 1, 2 | Watermains - ### mm dia. DR 18 PVC | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Watermains - ### mm dia. DR 18 PVC | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 4 | Water Services ## mm Dia (saddle, corp stop, curbstop, connections) | each
|  | 1, 4 | Water Service Line ## mm Dia Municipex | m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Inline Gate Valves {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Crosses {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Tees {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Bends {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Reducers {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Blind Flanges {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Caps {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 5 | Test Points | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 5 | Air-Release and or Air-Vacuum Valves {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 5 | Combination Valves Air Valves {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 6 | Air Valve Chamber c/w Drain & Vent | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 7 | Blow Off | each
|  | 1, 8 | Concrete Bedding / Controled density Fill | cu m
|  | 1, 10 | Watermain Undercrossing c/w Casing Pipe | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 11 | Hot Taps {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 12, 13 | Tie-In Mains {specify stn} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 14 | Hydrant Assembly c/w Storz Connection | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  |  | Testing and Commissioning | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 33 30 01 |  | Sanitary Sewers
|  | 1, 2 | Sanitary Mains - ### mm dia DR 35 PVC | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Sanitary Mains - ### mm dia DR 35 PVC | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Sanitary Services ## Dia - Mainline Wye, I.C., Brooks Box and Connections | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Sanitary Services ## Dia - Service Pipe - DR 28 PVC | m
|  | 1, 6 | Tie-In Mains {specify stn} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  |  | Testing and Commissioning | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 33 34 01 |  | Sewage Forcemains
|  | 1 to 9 | Sanitary Force Mains - ## mm dia HDPE | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Inline Valves c/w Valve Box {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Bends {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Other Fittings | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Sanitary Force Main Undercrossing c/w Casing Pipe | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Test Points | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Air-Release and or Air-Vacuum Valves {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Combination Valves Air Valves {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Air Valve Chamber c/w Drain & Vent {Size} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 9 | Tie-In Mains {specify stn} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  |  | Testing and Commissioning | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 33 40 01 |  | Storm Sewers
|  | 1, 2 | Storm Mains - ### mm dia DR35 PVC | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Storm Mains - ### mm dia DR35 PVC | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Storm Services, ### Dia - Mainline Wye, I.C., Brooks Box and Connection | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 3 | Storm Services ### Dia - Service Pipe - DR 28 PVC | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 9 | Perforated Drain Pipe ### Dia {Type} | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 7 | Catch Basin Leads ### Dia (does not include Catch Basin) | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 7 | Lawn Basin Leads ### Dia (does not include Lawn Basin) | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 6 | Tie-In Mains {specify stn} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  |  | Testing and Commissioning | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 33 42 13 |  | Pipe Culverts
|  | 1 to 7 | Pipe Culvert - ### mm dia CSP | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 7 | End Walls | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1 to 7 | CSP Flume | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 33 44 01 |  | Manholes and Catchbasins
|  | 1, 2 | #### Dia Manhole Base, Benching, H20 Lid/Slab, Cast Frame/Cover | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | #### Dia Manhole Base, Benching, H20 Lid/Slab, Cast Frame/Cover | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | #### Dia Dry Well Base, H20 Lid/Slab, Cast Frame/Cover | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | #### Dia Manhole Barrel Riser Section | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | #### Dia Manhole Barrel Riser Section | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | #### Dia Dry Well Barrel Riser Section | lin m |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Drop Structure {Size, Type} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Drop Structure {Size, Type} | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Catch Basins Top Inlet (not including lead) | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Catch Basins Side Inlet (not including lead) | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Lawn Drain (not including lead) | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Reposition Existing Catchbasins (does not include lead) | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
| 33 49 23 |  | Storm Water Retention / Treatment System
|  | 1, 2 | Type | each |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Inspection and Testing | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
|  | 1, 2 | Flushing | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal Division 33 - Utilities |  | 0 |  | 0 |  | 0 |  | 0 | 0
34 | TRANSPORTATION
| 34 41 13 | 1, 2 | Traffic Signals | lump sum |  |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal Division 34 - Transportation |  | 0 |  | 0 |  | 0 |  | 0 | 0
ADDITIONAL WORK
Stream Diversion
|  | 4.01 | Supply and install necessary materials to divert/bypass the creek around the work site - consider holding bypass/diversion over the weekend | days | 8 |  | 0
Seepage Cutoff Wall
|  | 4.02 | Supply and install bentonite (Aquablok or approved equivalent) seepage cutoff wall | sq m | 10 |  | 0
Stacked Rock Wall
|  | 4.03 | Supply and install stacked rock wall for transistion of fishway structure to rail embankment slope | lin m | 2 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Fishway River Rock
|  | 4.04 | Supply and install Fishway River Rock to create nature-like channel bed within fishway structure | cu m | 7 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Fishway Baffle Rock
|  | 4.05 | Supply and install Angular Baffle Crest Rock to create nature-like riffle crests within fishway structure | cu m | 14 |  | 0
Install Stop Logs
|  | 4.06 | Install RMOW supplied stop logs into Weir structures | Lump Sum | 1 |  | 0
[5 empty] | Subtotal - Additional Work |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | Subtotal of all Divisions |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | GST @ 5% |  | 0 |  | 0 |  | 0 |  | 0 | 0
[5 empty] | TOTAL |  | 0 |  | 0 |  | 0 |  | 0 | 0